## GRAND SUMMARY
WATER AND SANITATION SERVICE IMPROVEMENT PROJECT - COMMUNAL ONSITE SANITATION FACILITIES WITHIN WAJIR
BILLS TOTAL
BILL | DESCRIPTION | AMOUNT
NO. |  | Kshs.
1 | PRELIMINARY AND GENERALS
2 | MAIN ABLUTION BLOCKS AND SEPTIC TANKS
3 | PLUMBING, DRAINAGE,WATER SUPPLY, ELECTRICAL AND MECHANICAL WORKS
4 | SCHEDULE OF DAYWORKS
ADD 10 % CONTIGENCIES
Sub Total Exclusive of VAT (A)
Value Added Tax (VAT) - 16% (B)
Total [(A)+(B)]

## Bill No. 1
PROPOSED CONSTRUCTION OF COMMUNAL ONSITE ABLUTION BLOCKS IN WAJIR TOWN
BILL NO. 1 - PRELIMINARIES AND GENERAL
CONTRACT
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
1 | Contractual Requirements
1.1 | Allow for provision of Performance Security in accordance with Clause 42 of Section I of the General Conditions. | Item | L.S
1.2 | Allow for provision of Insurance of Works and Contractor's Equipment in accordance with Clause 13 of Section VIIII of the General Conditions. | Item | L.S
1.3 | Allow for provision of Third Party Insurance (including Employer's Property) all in accordance with Clause 13 of Section VIIII of the General Conditions. | Item | L.S
1.4 | Allow for provision of Insurance against Accident to Workmen in accordance with Clause 13 of Section VIIII of the General Conditions. | Item | L.S
2 | Special Requirements
2.1 | Contractor's Camp and Storage Yard: Allow for establishment of the Contractor's Camp(s), Offices, Storage Yard and other facilities including mobilization, demobilization and removal on Completion. Include for all equipment, temporary measures, machines, tools, materials, facilities for workers, water and electricity supply etc. all as specified for execution of the Works, for the entire Contract Period. Note: The Employer has no available land to offer for Contractor's Camp, storage of materials and preparation of concrete etc. Identification and procurement of suitable area of land for Contractor's Camp whether rented or purchased is the responsibility of the Contractor. Details of proposed land where the Contractor will establish his camp(s) to be submitted with the Bid. | Item | L.S
2.2 | Allow a P.C. Sum of Kshs.200,000 for training of Employer's / Water Service Provider's Staff during Construction, Testing and Commissioning of the Works as specified. | Item | P.C | 200000 | 200000
2.3 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 2.2 above | % | 200000
2.4 | Test Running of the Works: Contractor to Test-run the newly constructed / rehabilitated facilities for a period of 4 weeks upon completion of the Works including measurement and production of performance data . Test Running to be carried out in close liaison with the Water Services Provider's Staff. The Contractor to allow for 'on job' training of Operation and Maintenance Staff, Tools, etc., during the test running period and ensure that the operations are carried out full time on a 24 hour basis, all in accordance with Clause 136 of the General and Specific Specifications. | Item | L.S
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET
2.5 | Allow for provision of As-Built Drawings in accordance with Clause 56 of the General and Specific Specifications. | Item | L.S
2.6 | Allow for provision of Operation and Maintenance (O&M) Manuals in accordance with Clause 56 of the General and Specific Specifications. | Item | L.S
3 | Specified Requirements
Sign Boards
3.1 | Provide and erect sign boards at the site indicated by the Engineer's Representative and in accordance with the Conditions of Contract. Details of the sign Board are shown on the standard drawings. | Nr | 2
Setting Out and Survey Work
3.2 | Allow for Setting Out of the Works in accordance with Clause 104 of Section I, General & Specific Specifications of Bid Document Volume II. The Work will mainly comprise of establishment of Level Datum, setting out of the Works in accordance with Specifications, staking out of the construction wayleave along all Sewer Line routes and preparation of Setting Out Survey Report including submission to the Engineer for approval. | Item | L.S
The Setting Out Work / Survey Work including production of Survey Drawings to an agreed scale will include the following:
Detailed Condition Survey of existing Sanitation Facilities
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET
Office for the Resident Engineer
Equipment for the Resident Engineer's Offices
3.4 | P.C Sum of Kshs. 1,000,000/- for provision of furniture and equipment for the Senior Resident Engineer's Office as specified under Clause 101(a) of the Specifications. Note: Final List of Furniture & Equipment to be procured will be provided by the Resident Engineer prior to commencement of Works. The furniture and equipment to revert to the Employer at the end of the Contract. | Item | P.C
3.5 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 3.4 above. | % | 1000000
3.3 | P.C Sum of Kshs. 1,500,000/- for Maintenance and attendance of the Resident Engineer's Office, including supply of provisions and consumables as specified under Clause 101(b) of the Specifications for the duration of the Contract. Note: Contractor to price for the monthly requirement of stationery, cleaning materials and other consumables specified in the Specifications. | Item | P.C | 1500000 | 1500000
Resident Engineer's Staff
Provide the following Staff for the Resident Engineer's Office in accordance with Clause 101 of General and Specific Specifications. (Note: The Staff to be employed by the Contractor but to be under the exclusive day to day instruction of the Resident Engineer).
3.4 | Secretary, ref. Clause 101(c) - 1Nr | Month | 6 | 35000 | 210000
3.5 | Office Assistant, ref Clause 101(c) - 1Nr | Month | 6 | 25000 | 150000
Vehicles
3.6 | Provision of hire of 1No. 4WD Double Cab (Leased on short term basis) with fuel, service and driver, of engine capacity n.e 3000 CC for use by the Resident Engineer for the duration of the contract. Rate to be inclusive of first 5,000km per month. | Vehicle Months | 6
3.7 | Extra over for mileage beyond first 5,000km per month | Km | 2500
3.8 | Add …….% for profit, administration, attendance upon, overheads, etc. for Items 3.4 to 3.7 above. | %
Accommodation of Engineer's Representative's Staff (Provisional)
3.9 | P.C. Sum for provision of 1Nr. fully furnished Rental Accomodation for Resident Engineer (RE) and Assistant Resident Engineer (ARE) as per Clause 101(f) of the Specifications, including day & night security, House Cleaner, Crockery, Electricity, Water Supply, Beddings etc. All to the satisfaction of the Engineer. | Item | P.C. | 1200000 | 1200000
3.1 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 3.9 above. | % | 1200000
3.11 | P.C. Sum for provision of 1Nr. fully furnished Accommodation for the use of Inspectors of Works as per Clause 101(d) of the Specifications. | Item | P.C. | 480000 | 480000
3.12 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 3.11 above. | % | 480000
Communications
3.13 | P.C. Sum of Kshs 200,000 for provision of communication facilities and services (telephone, email, fax, postal, courier services, etc.) for the Project / Site Offices and the Supervision Staff. | Item | P.C. | 200000 | 200000
3.14 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 3.13 above. | % | 200000
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET
4 | Other Costs
Cadastral Survey
4.1 | Allow a Provisional Sum of Kshs.300,000 for carrying out cadastral survey by licenced Surveyor, wayleave acquisition, etc. including obtaining approval by Director of Surveys and issuance of Title Deeds at various Project sites, or for any requisite Engineering Survey, as directed by the Engineer. | Item | P.S | 300000 | 300000
Existing Services
4.2 | P.C. Sum of Kshs. 200,000/- for Payments demanded by the Authorities for re-location of existing services, Road crossings, etc., including any statutory levies to relevant Authorities. Liaison with the relevant Authorities shall be the responsibility of the Contractor for the timely execution of the Works. | Item | P.C. | 200000 | 200000
4.3 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 4.2 above. | % | 200000
Costs as Directed by the Engineer
4.4 | Allow for any costs associated with compliance with Environmental, Health and Safety Requirements as specified in Clause 15 of the Particular Specifications, of Bid Document Volume II and the Environmental & Social Management Plan (ESMP) as required by Government Agencies and Prevailing Legislation. The Cost under this item to include Quarterly Environmental Audit in the ESMP by a registered NEMA Lead Expert. | Item | L.S
4.5 | Allow a Provision Sum of Kshs. 500,000 for supply and installation of Project Plaque. Contractor to include for all requisite Works associated with installation. | Item | P.S | 500000 | 500000
4.6 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 4.5 above. | % | 500000
PAGE TOTAL CARRIED FORWARD TO BILL COLLECTION SHEET
BILL NO. 1 - PRELIMINARIES AND GENERAL
| Page Total, Page 1 of 4 |  |  |  | 0
| Page Total, Page 2 of 4 |  |  |  | 0
| Page Total, Page 3 of 4 |  |  |  | 0
| Page Total, Page 4 of 4 |  |  |  | 0
| Total for Bill No 1 |  |  |  | 0

## BILL No.11 (hidden)
WATER AND SANITATION SERVICE IMPROVEMENT PROJECT - ADDITIONAL FINANCING (WaSSIP-AF)
IMMEDIATE URGENT WORKS - ON PLOT SANITATION FACILITIES FOR WAJIR PROJECT AREA
TENDER No………………..
BILL NO. 1 - PRELIMINARIES AND GENERAL
CONTRACT
ITEM No. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT (Kshs.)
1 | Contractual Requirements
1.1 | Allow for provision of Performance Security in accordance with Clause 42 of Section I of the General Conditions. | Item | L.S |  | 2000000
1.2 | Allow for provision of Insurance of Works and Contractor's Equipment in accordance with Clause 13 of Section VIIII of the General Conditions. | Item | L.S |  | 1400000
1.3 | Allow for provision of Third Party Insurance (including Employer's Property) all in accordance with Clause 13 of Section VIIII of the General Conditions. | Item | L.S |  | 1000000
1.4 | Allow for provision of Insurance against Accident to Workmen in accordance with Clause 13 of Section VIIII of the General Conditions. | Item | L.S |  | 1100000
2 | Special Requirements
2.1 | Contractor's Camp and Storage Yard: Allow for establishment of the Contractor's Camp(s), Offices, Storage Yard and other facilities including mobilization, demobilization and removal on Completion. Include for all equipment, temporary measures, machines, tools, materials, facilities for workers, water and electricity supply etc. all as specified for execution of the Works, for the entire Contract Period. Note: The Employer has no available land to offer for Contractor's Camp, storage of materials and preparation of concrete etc. Identification and procurement of suitable area of land for Contractor's Camp whether rented or purchased is the responsibility of the Contractor. Details of proposed land where the Contractor will establish his camp(s) to be submitted with the Bid. | Item | L.S |  | 3000000
2.2 | Test Running of the Works: Contractor to Test-run the newly constructed / rehabilitated facilities for a period of 4 weeks upon completion of the Works including measurement and production of performance data (sewerage influent quantity, influent / effluent quality etc.). Test Running to be carried out in close liaison with the Water Services Provider's Staff. The Contractor to allow for 'on job' training of Operation and Maintenance Staff, Tools, etc., during the test running period and ensure that the operations are carried out full time on a 24 hour basis, all in accordance with Clause 136 of the General and Specific Specifications. | Item | L.S |  | 824620.55
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET |  |  |  |  | 9324620.55
2.3 | Allow for provision of As-Built Drawings in accordance with Clause 56 of the General and Specific Specifications. | Item | L.S |  | 450000
2.4 | Allow for provision of Operation and Maintenance (O&M) Manuals in accordance with Clause 56 of the General and Specific Specifications. | Item | L.S |  | 100000
3 | Specified Requirements
Sign Boards
3.1 | Provide and erect sign boards at the site indicated by the Engineer's Representative and in accordance with the Conditions of Contract. Details of the sign Board are shown on the standard drawings. | Nr | 2 | 70000 | 140000
Setting Out and Survey Work
3.2 | Allow for Setting Out of the Works in accordance with Clause 104 of Section I, General & Specific Specifications of Bid Document Volume II. The Work will mainly comprise of establishment of Level Datum, setting out of the Works in accordance with Specifications, staking out of the construction wayleave along all Sewer Line routes and preparation of Setting Out Survey Report including submission to the Engineer for approval. | Item | L.S |  | 700000
The Setting Out Work / Survey Work including production of Survey Drawings to an agreed scale will include the following:
Detailed Condition Survey of existing sanitation Sanitation Facilities
Office for the Resident Engineer
PAGE TOTAL CARRIED TO BILL COLLECTION SHEET |  |  |  |  | 1390000
4 | Other Costs
Cadastral Survey
4.1 | Allow a Provisional Sum of Kshs.500,000 for carrying out cadastral survey by licenced Surveyor, wayleave acquisition, etc. including obtaining approval by Director of Surveys and issuance of Title Deeds at various Project sites, or for any requisite Engineering Survey, as directed by the Engineer. | Item | P.S |  | 500000
Existing Services
4.2 | P.C. Sum of Kshs. 200,000/- for Payments demanded by the Authorities for re-location of existing services, Road crossings, etc., including any statutory levies to relevant Authorities. Liaison with the relevant Authorities shall be the responsibility of the Contractor for the timely execution of the Works. | Item | P.C. |  | 200000
4.3 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 4.2 above. | % | 200000 |  | 24000
Costs as Directed by the Engineer
4.4 | Allow for any costs associated with compliance with Environmental, Health and Safety Requirements as specified in Clause 15 of the Particular Specifications, of Bid Document Volume II and the Environmental & Social Management Plan (ESMP) as required by Government Agencies and Prevailing Legislation. The Cost under this item to include Quarterly Environmental Audit in the ESMP by a registered NEMA Lead Expert. | Item | L.S |  | 300000
4.5 | Provisional Sum of Kshs.500,000/- to be used as directed by the Employer / Engineer. | Item | P.S |  | 500000
4.6 | Add …….% for profit, administration, attendance upon, overheads, etc. for Item 4.2 above. | % | 500000 | 12% | 60000
PAGE TOTAL CARRIED FORWARD TO BILL COLLECTION SHEET |  |  |  |  | 1584000
BILL NO. 1 - PRELIMINARIES AND GENERAL
| Page Total, Page 1 of 3 |  |  |  | 9324620.55
| Page Total, Page 2 of 3 |  |  |  | 1390000
| Page Total, Page 3 of 3 |  |  |  | 1584000
| Total for Preliminaries and General |  |  |  | 12298620.55

## BILL No. 2
BILL NO.2 : PROPOSED CONSTRUCTION OF COMMUNAL ONSITE ABLUTION BLOCKS IN WAJIR TOWN
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
(KSH)
BILL 1.1 MAIN BLOCK
1. SUBSTRUCTURE (ALL PROVISIONAL)
Excavation and earthworks
1.1 | Oversite to remove top vegatative soil approximately 100 mm deep | SM | 1440
1.2 | To reduce levels; depth 300mm | CM | 400
1.3 | For foundation trench not exceeding 1.50 metres deep, starting from reduced level. | CM | 240
1.3 | For column bases not exceeding 2.0 metres deep, starting from reduced level. | CM | 192
Backfilling and Disposal
1.4 | Return fill and ram selected excavated material foundations and compact in 200mm layers | CM | 208
1.5 | Load and wheel surplus excavated soil, deposit and spread on site | CM | 656
Dewatering and planking
1.6 | Allow all necessary plunking and strutting to sides of excavation for all ablution blocks | ITEM | 1
1.7 | Allow for keeping excavation water free by pumping, bailing or otherwise for all ablution blocks | ITEM | 1
Filling
1.8 | Backfilling with 300mm thick approved hardcore filing well packed,rammed, watered and compacted in layers of 150mm thick | CM | 432
1.9 | 50mm thick murram or approved blinding to hardcore surface | SM | 1312
1.1 | Chemical antitermite treatment 'gladiator' or any other equally approved chemical on blinded surface and at bottom of hardcore filling | SM | 1312
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
(KSH)
1.11 | 500 mm Gauge polythene sheet as Damp proofing membrane laid with 200 mm wide side laps on top of blinded hardcore | SM | 1280
Concrete works
Mass concrete mix (1:4:8) in;
1.12 | 50mm thick blinding in foundation trenches. | SM | 160
1.13 | Ditto column bases | SM | 96
Vibrated reinforced concrete mix (1:2:4) class 20/20 in;
1.14 | Strip footing | CM | 64
1.15 | Column bases and foundation columns | CM | 48
1.16 | 150mm thick floor bed | SM | 1280
Formwork
Supply timber, nails and all necessary materials for and including construction, erection treatment and later striking out sawn formwork to:
1.17 | Edge of surface bed 75-100mm high | LM | 592
1.18 | Vertical sides of foundation columns | SM | 32
Reinforcement
supply and fix high tensile square twisted steel reinforcement including tying wires and spacer blocks
1.19 | All bar sizes | KG | 3072
1.2 | BRC Ref. A98 welded mesh fabric Reinforcement (m/s) | SM | 1280
Foundation walling
1.21 | 200mm wide natural stone walling bedded and jointed in cement and sand mortar mix (1:3) and reinforced with 45mm hoop iron strap laid horizontally at every alternate course | SM | 256
1.22 | 200mm wide approved damp proofing course | LM | 640
Plinth
1.23 | 15 mm thick cement: sand (1:4) render wood floated smooth on plinth surfaces externally | SM | 272
1.24 | 3 coats of Black bituminous paint to ditto | SM | 272
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
2. REINFORCED CONCRETE SUPERSTRUCTURE
Concrete works
Vibrated Insitu reinforced concrete mix (1:2:4) Class 20 /20 as described in:
2.1 | Ring beam; 200 x 300 mm | CM | 48
2.2 | Beam; 200 x 450 mm | CM | 32
2.3 | Columns; 200 x 300 mm | CM | 16
2.4 | 150 mm thick suspended slab | SM | 192
Reinforcement
supply and fix high tensile square twisted steel reinforcement including tying wires and spacer blocks
2.5 | All bar sizes | KG | 5248
Formwork
Supply timber, nails and all necessary materials for and including construction, erection treatment and later striking out sawn formwork to:
2.6 | Sides of ring beams and beams | SM | 768
2.7 | Soffits of suspended slab | SM | 192
3.WALLING
Solid Block walling with concrete blocks to BS 2028, Type "A" with minimum crushing strength of 3.7N/mm2 at 28 days, Reinforcement with 20swg hoop Iron at alternanet course, and bedded ,jointed and pointed in cement mortar (1:4)
3.1 | 200mm thick; External walling | SM | 1536
3.2 | Ditto; 150mm internal walling | SM | 1920
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
SUNDRIES
3.3 | Eaves filling maximum height 300mm: in mix 1:3 cement and sand mortar on 200mm stone wall including fillings to the profiles of roof selecting with mortar as before described | LM | 1328
4.ROOFING (ALL PROVISIONAL)
Roof Structure(all provisional)
The following in prime grade,pressure impregnated sawn cypress with and including bolted and nailed connections and all other necessary accessories; including hoisting and fixing 3000mm above first floor level
Assorted
4.1 | 100 x 50mm Tie beams | LM | 876.8
4.2 | 100 x 50mm rafters. | LM | 1040
4.3 | 100 x 50mm kingpost struts and Ties | LM | 800
4.4 | 100 x 50mm purlins battens | LM | 1600
4.5 | 150 x 25mm Ridge board | LM | 416
4.6 | 150 x 50 mm Wall plate secured with and including hoop iron at 900mm centres cast in concrete ring beam | LM | 400
Roof Covering
Metrolite light weight stone coated roofing sheets as per manufacturer's specifications and approved laid on and including 50x50mm pressure impregnated sawn cypress purlins at 6000mm centres, all in accordance with the manufacturer's instructions
4.7 | Roof covering at 25 degrees to main roof from the horizontal including all necessary fixtures. | SM | 1472
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
4.8 | 300mm diameter valley, hip and ridge cap to match the colour of sheets | LM | 224
Rain Water Goods
The following in unplasticised polyvinyl chrolide rain water goods as manufactured by 'GutterFlow systems' and supplied by 'space and style' or equal and approved as described in:-
4.9 | 140mm diameter half round gutter complete with all accessories | LM | 384
4.1 | 150mm diameter down pipes complete with all accessories | LM | 128
4.11 | Extra over for Shoe | NO | 32
4.12 | Extra over for bends | NO | 32
Roof Finishes
The following in eaves boarding (Provisional)
4.13 | 100 x 25mm Tongued and grooved pvc ceiling or any other equal and approved softwood boarding nailed to brandering (measured separately) | SM | 1152
4.14 | 25 x 200mm Wrought cypress, treated cypress fascia or barge board | LM | 672
Knot, prime and stop, prepare and apply one undercoats and two finishing coats "Crown Solo" or any other equal and approved gloss paint on wood work
4.15 | General surfaces of woodwork | SM | 144
4.16 | Surfaces girth exceeding 200mm but not exceeding 300mm | LM | 144
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
Steel door
5.1 | 1000x2400mm high mild steel framed door including 16x16SHS frame and all primer with red oxide complete with hinges permanent vent assembled plus 3-level mortice lock and fixed to opening and cutting and pinning lugs to concrete or block work surround and bedding frame in cement and sand mortar (1:4); all welding ground to smooth finish (front door) | NO | 32
Wooden Door
5.2 | 45mm thick semi solid core flush door 800x2100mm with 6mm internal quality plywood for painting and lipped with 15mm hardwood on all exposed edges | NO | 192
Frames, Mullions, Transomes, Quadrants, Architraves and beadings ( All Wrot Hardwood )
wrot hardwood as described to;
5.3 | 100 x 50 mm Door Frame with three labours plugged
| to wall | LM | 976
5.4 | 45 x 20mm Architrave | LM | 976
5.5 | 25 mm Quadrant beading | LM | 976
Iron mongery
Supply and fix the following:
5.6 | 2 lever mortice sash lock as union complete with furniture and fittings to timber door with matching screw | NO | 192
5.7 | 150mm heavy duty mild steel butt hinges | NO | 384
5.8 | Supply and fix Stainless steel buffer coat hooks | NO | 192
5.9 | Supply and fix 100mm D-pull handles | NO | 192
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
Painting
Prepare and apply three coats polyurethane lacquer clear varnish to;
5.1 | frame,architraves and quadrants not exceeding 100mm girth | LM | 976
5.11 | door surface externally and sides | SM | 416
5.12 | ditto internally | SM | 352
6.WINDOWS OPENING
Window casement
supply, assemble and fix the following purpose-made mild steel casement windows;standard metal section from approved manufacturer complete with frames, transomes mullions and including all necessary ironmongery ;hinges,stays,fasterners and permanent ventilators including cutting,pinning and fixing lugs to stone or concrete works jambs bedding in cement and sand (1:3) mortar and three coat manufacturer's primer;all welding ground to smooth finish; all as per the Architects instructions
6.1 | window size 900 x 1200 mm high | NO | 224
Glazing
6.2 | 5 mm thick clear glass and glazing to metal with putty in panes but not exceeding 0.50 square metres each. | SM | 160
Painting
Touch up with one coat calcium plumbate primer and prepare and apply one undercoat and finishing coats gloss oil pain on including opening edges
6.3 | Surfaces of metal casements externally | SM | 64
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET |  |  |  |  | 0
6.4 | Ditto internally | SM | 64
Window cill
Precast concrete class 20 fair faced all exposed surfaces bedded and jointed cement and sand (1:3) mortar;
6.5 | 275 x 100 x 25 mm thick window cill | LM | 224
7.FINISHES
EXTERNAL WALLING FINISHING
12m thick cement and sand (1:3 ) render and set wood floated smooth
7.1 | Masonry wall | SM | 1424
7.2 | Sides of ring beam | SM | 112
7.3 | Reveals and jambs | SM | 48
Prepare and apply one under coat and two finishing coats first quality plastic emulsion paint to:
7.4 | Masonry wall | SM | 1424
7.5 | Sides of beams and ring beam | SM | 112
7.6 | Reveals and jambs | SM | 48
INTERNAL WALLING FINISHING
12mm thick gauged cement lime plaster ( 1:1:6 ) steel trowelled smooth
7.7 | Wall surfaces | SM | 3392
7.8 | Reveals and jambs | SM | 48
Prepare and apply one under coat and two finishing coats first quality plastic emulsion paint to:
7.9 | Wall surfaces | SM | 1136
7.1 | Reveals and jambs | SM | 16
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
WALL TILING (WASHROOM)
7.11 | 25mm thick cement and sand (1:4 ) backing to receive wall tiles ( m/s ) | SM | 2256
7.12 | 300 x 300 x 6mm white glazed wall tiles fixed to backing (m/s ) with approved adhesive as per the manufacturers instructions | SM | 2256
MIRRORS
7.13 | 6mm thick polished plate glass, silver backed mirror with beveled edges, size 1200x600mm plugged and screwed to wall with 4No. Chrome plated chrome capped screws and 5mm thick foam back nest. | NO | 32
FLOOR FINISHES
Beds/backing
7.14 | 25mm thick screed cement sand (1:3) one coat bed ; wood floated to receive ceramic tiles to concrete or blockwork generally horizontal floor | SM | 1152
Ceramic tiles
7.15 | 300 x 300 x 10mm thick imported high quality coloured non slippery ceramic tiles to bedded surface | SM | 1152
CEILING FINISHES
Sawn cypress grade 2 as to first floor ceiling
7.16 | 75 x 50mm main brandering | LM | 1440
7.17 | 50 x 50mm secondary brandering | LM | 800
7.18 | Decorative gypsum board ceilling to architect's details. | SM | 1168
7.19 | Apply three coats first grade silk vinyl emulsion paint to skimmed gypsum board surfaces. | SM | 1168
7.2 | Gypsum cornice lining | LM | 544
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
MAIN BLOCK COLLECTION PAGE
| FROM PAGE……… |  | 1
| FROM PAGE…….. |  | 2
| FROM PAGE…….. |  | 3
| FROM PAGE……… |  | 4
| FROM PAGE…….. |  | 5
| FROM PAGE…….. |  | 6
| FROM PAGE…….. |  | 7
| FROM PAGE……… |  | 8
| FROM PAGE…….. |  | 9
TOTAL FOR 16 MAIN BLOCKS CARRIED TO BILL NO.1 COLLECTION PAGE (Kshs)
BILL NO. 2.2 CONSTRUCTION OF 8 TWIN SEPTIC TANKS (Each 31.8 CUM)
ITEM | DESCRIPTION | UNIT |  | RATE | AMOUNT
(KSH)
1 | SITE CLEARANCE AND EXCAVATION
SITE CLEARANCE & TOP SOIL STRIPPING
1.1 | Clear area within the site of all grass, bushes, shrubs, hedges, grub up roots and cart away to tips as directed by the Engineer. | SM | 280
1.2 | Excavate over site for buildings, roads, etc. Average 150mm deep to remove vegetable soil and stack part of material for use as and where directed by the Engineer, cart away surplus to tips. | SM | 280
2 | EXCAVATION
The rates shall include for all strutting, shuttering, stabilising the excavation faces, and keeping the excavation free of water by pumping, bailing or other means.
2.1 | Excavate below stripped level to formation level in common material, part backfill after construction and remainder, cart away to tips or use as fill on site, all as directed by the Engineer. Maximum depth n.e. 1 m | CM | 269.426
| Ditto but n.e 2.5m | CM | 404.139
Extra Over Excavation in any Position for:- (Provisional)
2.2 | Excavating in rock Class "A" | CM | 60.6208
2.3 | Excavating in rock Class "B" | CM | 40.4139
2.4 | Excavating in rock Class "C" | CM | 40.4139
Approved Selected Filling as Described:-
2.5 | Fill and ram selected excavated materials around foundations and buildings. | CM | 309.8032
Disposal of Surplus Spoil:-
2.6 | Cart away surplus excavated materials to an approved dumping site. | CM | 16
3 | CONCRETE WORKS
Mass Concrete Class 15/20mm Maximum Aggregate as Described in:-
3.1 | 50mm Thick blinding under foundation concrete inluding its formwork and its removal, levelling, compacting and curing | CM | 11.5805
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
Guaranteed Strength Reinforced Concrete Class 20/20mm Maximum Aggregate as Described in:-
3.2 | Provide laying, compacting, finishing and curing of 230mm Thick bottom slab | CM | 53.2703
3.3 | Provide laying, compacting, finishing and curing of 125mm Thick top slab | CM | 26.5132
3.4 | Provide laying, compacting, finishing and curing of 230mm x150mm beam | CM | 1.2006
4 | Reinforcement
Provide and Fix High Tensile Steel Reinforcement to SRN 127 Including Cutting, Bending, Propping with Spacers and Tying as Specified :-
4.1 | Provide and fix A252 fabric reinforcement to 230 mm thick floor slab | SM | 231.61
4.2 | Reinforcement, all diameters | Kg | 4800
5 | PLUMBING AND DRAINAGE
Foul/Waste drainage
5.1 | Excavate pipe trench in ordinary ground for 160mm diameter pipe between n.e 2m | LM | 400
5.2 | Provide lay and joint uPVC pipes golden brown Class 41 160mm diameter. Include for all fittings and connections to inspection chambers. | LM | 400
6 | VENTILATION
6.1 | PVC Vent pipe Class B | LM | 80
6.2 | PVC Vent pipe cover | Nr | 16
Inspection Covers
6.3 | Provide and fix rectangular fibre reinforced plastic inspection covers and frames as specification in the drawing and directed by the Engineer | Nr | 32
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
7 | WALLING
Solid Block walling with concrete blocks to BS 2028, Type "A" with minimum crushing strength of 3.7N/mm2 at 28 days, Reinforcement with 20swg hoop Iron at alternanet course, and bedded ,jointed and pointed in cement mortar (1:4)
7.1 | 200mm wide natural stone walling bedded and jointed in cement and sand mortar mix (1:3) and reinforced with 45mm hoop iron strap laid horizontally at every alternate course | SM | 382.1368
7.2 | 150mm wide natural stone walling bedded and jointed in cement and sand mortar mix (1:3) and reinforced with 45mm hoop iron strap laid horizontally at every alternate course | SM | 16.008
8 | PLASTERING
12.5mm Thick Gauged Cement Plaster as Described Internally on :-
8.1 | Wall surfaces | SM | 594.2428
8.2 | Water proofing | SM | 382.1368
9 | Formwork
Provide and Fix Shuttering Including Propping, Strutting and Striking, all as Specified
Wrot Formwork - Class F3 Finish:-
9.1 | F3- Plane vertical formwork to soffit of slab and baffle walls | SM | 184.128
9.2 | F3- Plane horizontal formwork to soffit of slab and baffle walls | SM | 177.56
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
SEPTIC TANK COLLECTION PAGE
| FROM PAGE……… |  | 11
| FROM PAGE…….. |  | 12
| FROM PAGE…….. |  | 13
TOTAL FOR SEPTIC TANKS CARRIED TO BILL NO.2 COLLECTION PAGE
BILL NO. 2 COLLECTION PAGE
1 | MAIN ABLUTION BLOCKS
2 | SEPTIC TANKS
TOTAL FOR BILL NO 2

## BILL No. 3
BILL NO.3 WATER SUPPLY, ELECTRICAL AND MECHANICAL WORKS
Item | Description | UNIT | QUANTITY | Rate;Kshs | Amount (Kshs)
BILL 3 WATER SUPPLY & MECHANICAL WORKS
3.1 PLUMBING AND DRAINAGE WORKS
1.1 | Supply and fix white glazed fireclay hand wash basin size 56cm x43cm (HARSA Type) or equivalent, complete with all water supply pipes ½", waste fitting, trap, plug and chain, swan neck water tap( Hamat or equivalent) and mirror 60x60cm, and the drainage line 2” to the nearest floor trap. | No. | 96
1.2 | Supply and fix white glazed fireclay Oriental squatting W.C. suite (HARSA Type), or equivalent complete with plastic flushing cistern, and fixed chromium plated tap 1/2”, including all water supply pipes ½", flushing mechanism, angle valves, 4” diam PVC drainage pipe to the nearest manhole as specification and drawings. as specification and drawings. | No. | 128
1.3 | Ditto but european W.C | No. | 32
1.4 | Supply and fix floor trap 4inch diameter, complete with heavy duty brass grating and 4”& 2” UPVC drainage pipe to the nearest manhole or next F.T and including S trap if needed as specification and drawings. | No. | 64
1.5 | Supply and install Galvanized steel pipe and fittings (1”) including insulation with asphalt paper, excavation & backfilling with clean sand , jointing using all necessary fittings, valves and fixing with brackets screwed to concrete or block work as specification ,drawings and engineer instruction. | m | 800
1.6 | Ditto but (3/4”) diameter. | m | 480
1.7 | Supply and install uPVC pipes 160mm, SN8 for drainage, with sockets ,work includes excavating of trenches (depth 0.75-1.5m),bedding, compacted backfilling with clean sand, connecting to the manholes and hydraulic test according to the specifications and drawings | m | 800
1.8 | Ditto but 110mm internal diameter. | m | 160
1.9 | Ditto but 110mm for vent-pipe | m | 96
1.1 | Construct Inspection chambers of (600x450)mm internal width dimensions and (500-1000) mm depth according to the required+C13 level, 100mm thick plain concrete for walls and base, slab, with fibre reinforced plastic covers with frame 500mm opening, 8 ton bearing capacity, including excavation, backfilling, hunching and making good according to specification ,drawing, and the engineer instructions. | No. | 176
1.11 | Ditto, but with 120 cm internal diameter (105- 150cm) depth | No. | 32
1.12 | Supply and lay one layer of plasticized bitumen roofing membrane with chipping 4 mm thick, including priming concrete surface prior to laying, dressing into rainwater outlets to form waterproofing seal and cover with angle fillets. The rate includes verticals parts skirting 25cm height as per specification and drawings. | m2 | 32
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
1.13 | 2.SANITARY FINISHES
1.13.1 | Toilet roll holder | No. | 160
1.13.2 | Recessed soap tray | No. | 32
1.13.3 | Chrome plated shower rail size 25mm diameter x 900mm long complete with fixtures | No. | 32
1.13.4 | Handicap Rails Grab Bars | No. | 32
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
3.1 PLUMBING & DRAINAGE WORKS COLLECTION PAGE
| FROM PAGE……… |  | 1
| FROM PAGE…….. |  | 2
TOTAL CARRIED FORWARD TO COLLECTION PAGE
3.2 WATER SUPPLY COLD WATER SERVICE (INTERNAL)
To supply and install PPR piping PN 6 Tenderer must allow for joints, clippings, couplings and reducers, unions etc. necessary for the proper and satisfactory functioning of the installation when pricing. All buried pipework will be wrapped with Denso International Pipe Products Ltd., before laying in trenches.
2.1 | 20mm dia piping in walls/floors/roof space. | m | 640
2.2 | 25mm dia piping ditto. | m | 640
2.3 | 40mm dia piping ditto. | m | 640
2.4 | 50mm dia piping ditto | m | 800
2.5 | 32mm dia piping ditto | m | 160
Extra Over PPR piping for the following:-
2.6 | 20mm dia PPRC bend | No. | 480
2.7 | 25mm dia ditto | No. | 400
2.8 | 40mm dia ditto | No. | 320
2.9 | 50mm dia ditto | No. | 160
2.1 | 40mm dia equal tee | No. | 320
2.11 | 50mm dia equal tee | No. | 160
2.12 | 20x25mm dia tee | No. | 400
2.13 | 50x40mm dia ditto | No. | 32
2.14 | 40x20mm dia tee | No. | 320
2.15 | 50mm dia union | No. | 224
2.16 | 50-40mm dia reducer | No | 80
Brasswork
2.17 | 20mm dia gate valve to B.S.5154 as Peglars or equal and approved. | No. | 240
2.18 | 40mm dia ditto | No. | 32
2.19 | 50mm dia ditto | No. | 16
2.2 | 50mm dia non-return valve as Peglar or equal. | No | 48
2.21 | 20mm dia copper tubing 300mm long bent as required including unions and jointing to steel tubing and jointing. | No. | 160
2.22 | Cobra or equivalent chrome plated 20mm dia angle valve to approval of the Engineer. | No. | 160
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
PPR ADAPTORS FOR COLD WATER PIPELINE
2.23 | 20mm dia adaptor | No. | 32
2.24 | 25mm dia adaptor | No. | 32
2.25 | 40mm dia adaptor | No. | 80
2.26 | 50mm dia adaptor. | No. | 16
2.27 | 32mm ditto | No. | 32
Sockets
2.28 | 20mm dia | No. | 80
2.29 | 25mm dia | No. | 80
2.3 | 40mm dia | No. | 32
2.31 | 50mm dia | No. | 32
2.32 | 65mm dia | No. | 16
Water Tanks
Supply and install the following as directed by the Engineer:- Elevated Water Tank
2.33 | Roto or equivalent and approved rotationally moulded plastic cylindrical tank, 5000L capacity and complete with lid cover and screwed connections as indicated in drawing. | No. | 16
2.34 | 50mm dia high pressure delayed action float switch to Engineers approval. | No. | 16
2.35 | Allow other items to complete tank installations for all ablution blocks | Item | 1
2.36 | Allow for sterilisation of installed water system with 7% chlorine for all ablution blocks as to be directed by the Engineer | Item | 1
2.37 | Allow for testing and commissioning of installed plumbing system for all ablution blocks to approval of the Engineer | Item | 1
2.38 | Supply and install approved kent type water meters or equivalent on the main pipeline from well to the storage tank for all ablution blocks | Item | 1
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
3.2 WATER SUPPLY COLD WATER SERVICE (INTERNAL) COLLECTION PAGE
| FROM PAGE……… |  | 4
| FROM PAGE…….. |  | 5
TOTAL CARRIED FORWARD TO COLLECTION PAGE
SUMMARY PAGE
1 | 3.1 PLUMBING AND DRAINAGE WORKS
2 | 3.2 WATER SUPPLY COLD WATER SERVICE (INTERNAL)
Total of Water Supply and Drainage to the Collection Page summary Page
BILL 3.3 ELECTRICAL INSTALLATIONS
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
No. |  |  |  | (KShs Cts) | (KShs Cts)
1 | Mains Intake, Power Distribution and Ducting.
Supply, install, test and commission and put to work the following: -
1.1 | Mains cable and ducting:
1.1.1 | 100mm diameter HG PVC duct complete with concrete surround for power supply protection . | LM | 1200
1.1.2 | Build 600x600x700mm deep power manhole with internal plaster and heavy duty EAFW steel cover | NO | 32
1.2 | Cabling from meter intake:
1.2.1 | Sub-mains circuits for consumer unit comprising 2x10mm2 + 1 x 10mm2 PVC-SC-CU cables enclosed in 32mm diameter concealed conduit | LM | 1200
1.2.2 | Dia. 38mm HG PVC conduit for the above cables | LM | 1200
1.2.3 | 400 x 400 x 250 mm fully recessed 14 gauge galvanized power adaptable box. | NO | 32
2. Ablution Wiring
Supply, install, test, commission and set to work the following. All lighting fittings to be complete with lamp control gear etc as applicable.
2.1 | Lighting
2.1.1 | Lighting point 1-way switched. | NO | 32
2.1.2 | 5 A white moulded switch plates as MK Logic Plus or equivalent and approved:-
| (a) 3-gang 1-way | NO | 16
| (b) 2-gang 1-way | NO | 16
2.1.3 | Supply, fix into position and test the following light fittings.
| a) 12" Ceiling rose complete with heat resistant lamp holder, decorative lamp shade and energy saving lamp as MK | NO | 160
| b) 36W HPF fluorescent bare batten fitting as Phillips | NO | 160
2.2 | Power
2.2.1 | 8-way SPN Consumer Unit as Merlin Gerlin Crabtree or approved equivalent complete with 100A SPN integral isolator and all accessories including lockable cover with the required MCB’s and Blanking plates | NO | 16
2.2.2 | Cable glands for the incoming sub mains cables. | NO | 32
2.2.3 | Labeling of all the final sub-circuits in item No. 2.1.1 above for all ablution blocks | Item | 1
2.2.4 | Allow for carrying out comprehensive testing of the installations for all ablution blocks as per IEE Wiring Regulation, 16th Edition. | Item | 1
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
2.2.5 | Outlet for 13A twin switched socket outlet complete with concealed conduit, box wiring in 6 x 2.5 mm² SC-PVC-CU cables and 13A twin switched socket outlet plate as MK range | NO | 32
2.2.6 | Suply and install 1.5mm diameter three core cable for lighting and 2.5mm diameter three core cables for sockets. The rate to include tinterconnection and all associated fittings for all ablution blocks | Item | 1
3. EXTERNAL LIGHTING AND COMMON SERVICES
3.1 | Lighting:
3.1.1 | 32A SPN contactor as Telemecanique for the external lights in purpose-made firmly bonded enclosure | NO | 16
3.1.2 | 5A Photoelectric cell unit for automatic control of the lights, as Thorn, complete with protective fuse. | NO | 16
3.1.3 | 32A SP/N manual by-pass switch across the contactor, complete with mounting box, and indicator lights | NO | 16
3.1.4 | 10A 6-gang 2-way white moulded plate switch as MK | NO | 48
3.1.5 | Lighting point 1-way switched in 3x1.5 mm2 SC-PVC cables | NO | 16
3.1.6 | Supply, fix into position and test the following light fittings:
| a) 2D poly-carbonate black body bulk head outdoor security lights | NO | 32
| b) 1 x 36W HPF fluorescent bare batten fitting as Phillips | NO | 64
3.2 | Power
3.2.1 | 20A single phase isolator for the water pump | NO | 16
3.2.2 | 4C 4.0mm2 PVC/SWA/PVC cable for the above isolator | LM | 240
3.2.3 | Cable glands for the above cable | NO | 32
3.2.4 | Cable lugs for the above cable | NO | 128
Solar PV Power Supply
3.2.5 | Supply & Installation of Solar Panels (A-Grade Mono-crystalline), Controller /Inverter change over switch and steel frame complete in all respect for all ablution blocks. Complete PV modules system to achieve minimum 1 KWp.Waranty for the Solar Panels to be a minimum 25 years. | Sum | 1
3.2.6 | Supply and erect for all ablution blocks hot galvanised steel support frame structure for vertical supports, plates & screws, profiles for steel skeleton including bracing and double hot galvanized angles for dividers on the roof of the ablution block. | Sum | 1
4. LIGHTNING PROTECTION
Note: All lightning protection products to be FURSE – Alternative makes will NOT be accepted.
4.1 | Air Termination
4.1.1 | 15mm diameter multiple point copper air terminal as Furse Cat. No. RA 600. | NO | 32
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
4.1.2 | Copper air terminal base as Furse Cat. No. SD 105. | NO | 64
4.1.3 | Copper junction clamps for tape | NO | 80
4.1.4 | 25 x 3mm turned copper tape as Furse Cat. No. TC 230. | LM | 80
4.1.5 | Copper ridge saddle as Furse Cat. No. CD 115. | NO | 32
4.1.6 | D.C. tape clip as Furse Cat. No.CP 210 | NO | 64
4.1.7 | Copper rod-to-tape coupling as Furse Cat No CG 600. | NO | 128
4.2 | Down Conductors
4.2.1 | 25 x 3mm turned copper tape as Furse Cat. No. TC 230. | LM | 80
4.2.2 | D.C. tape clip as Furse Cat. No. CP 210 | NO | 32
4.2.3 | Oblong test/junction clamp as Furse Cat. No. CN 105 | NO | 32
4.2.4 | Diameter 38mm HG PVC conduits for the down conductors above. | LM | 80
4.3 | Earth Termination
4.3.1 | 15mm diameter, 1200mm long solid copper earth rod as Furse Cat. No. RC 020, complete with driving stud and spike. | NO | 32
4.3.2 | Earth rod-to-tape clamp type A. as Furse Cat No CR 130. | NO | 32
4.3.3 | Concrete inspection earth pit Cat. No. PT 005 with 5-hole earth bar as Furse Cat. No. PT 006. | NO | 32
4.3.4 | 1500mm x 1500mm copper earth mat made from 25mm x 3mm copper tape at 300mm spacing, buried at permanent moisture level and complete with all clamps, welding joints and 6m long 25mm x 3mm insulated copper tape clamped to the down conductors. | NO | 16
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET
3.3 ELECTRICAL INSTALLATIONS COLLECTION PAGE
| FROM PAGE……… |  | 8
| FROM PAGE…….. |  | 9
| FROM PAGE…….. |  | 10
Total of Electrical installation to the Collection Page summary Page |  |  |  |  | 0
Item No. | Description | UNIT | QUANTITY | Rate;Kshs | Amount (Kshs)
BILL 3.4: PRIME COST AND PROVISIONAL SUM
SHALLOW WELLS AND EXTERNAL DOMESTIC WATER RETICULATION SERVICES
1.1 | Allow a Prime Cost Sum of Kenya Shillings Eight hundred and sixty one thousand (Kshs 861,000) for rehabilitation of the existing shallow wells or excavation of new wells to provide water for all the ablution blocks. | Sum | 1 | 861000 | 861000
Mechanical/Plumbing Works
1.2 | Allow a Prime Cost Sum of Kenya Shillings Eight hundred and ninety six thousand (Kshs 896,000) for Design, Supply & Install complete Hybrid Solar/Grid Energy based system for submersible well pump capable of supplying 3m3/hr at a head of 40m. Sum inclusive of supply and installation of pump and all asociated plumbing and electrical connections including soft starter and switch serving all ablution blocks | Sum | 1 | 896000 | 896000
PAGE TOTAL CARRIED FORWARD TO COLLECTION SHEET |  |  |  |  | 1757000
3.3 PRIME COST AND PROVISIONAL SUM COLLECTION PAGE
| FROM PAGE……… |  | 12 |  | 1757000
| Total of prime cost to the Collection Page |  |  |  | 1757000
COLLECTION SUMMARY
1 | PLUMBING AND DRAINAGE WORKS WATER SUPPLY COLD WATER SERVICE (INTERNAL) |  |  |  | 0
2 | ELECTRICAL INSTALLATIONS
TOTAL FOR PLUMBING & ELECTRICAL WORKS FOR ALL 16 MAIN BLOCKS (Kshs) |  |  |  |  | 0
3 | Prime Cost and Provisional Sum |  |  |  | 1757000
TOTAL FOR BILL NO. 3 (PLUMBING & DRAINAGE WORKS, WATER SUPPLY COLD WATER SERVICE (INTERNAL), ELECTRICAL WORKS AND PRIME COSTS & PROVISIONAL SUMS)

## BILL No. 4
BILL No. 4 - SCHEDULE OF DAYWORKS
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | Kshs. | Kshs.
NOTE: THE WHOLE OF THIS BILL IS PROVISIONAL
Notes:
i) | The whole of this Section is Provisional
ii) | The rates inserted in this Schedule are to cover all establishment charges, insurances, holidays with pay, use and sharpening of all tools, supply of water, scaffolding, plant, hoisting gear etc., travelling and all other charges, overheads and profit.
iii) | The rates for materials are to cover delivery to the usual points at which materials are received on the site and for distribution to the individual sites, storage, handling, overheads and profit.
iv) | The rates for plant shall be rates for working time only and maintenance, fuel, oil and operator's time shall be included in the hourly rates.
v) | The time of gangers working with their gangs is to be paid for under the appropriate items, but the time of foremen and walking gangers is to be covered by Superintendence of the Contract generally.
vi) | The Contractor will not be paid for any work as day and hour unless he shall have obtained a written order from the Engineer before the commencement of the said work. All claims made by the Contractor for day and hour work must be supported by certified copies and the written order from the Engineer.
vii) | The rates will be used in assessing the cost of any extra work ordered by the Engineer for execution on daywork basis. In case any rate is found to be grossly in excess of prevailing market rates the Engineer shall use the market rate for this purpose.
viii) | The quantities indicated in this schedule are for the purpose of obtaining competitive rates. The work to be done may not be restricted to these quantities. The Contractor shall be required to work on the rates quoted irrespective of the quantities being greater or less than those quoted in this schedule.
ix) | If any of the following items is not priced, then other priced items will be deemed to cover for the costs for executing the item which is not priced.
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | Kshs. | Kshs.
1 | LABOUR
The rates inserted herein should include for all costs such as insurance, travelling time, overtime, accommodation, use and maintenance of small tools of trade, supervision, overheads and profit. Only time engaged upon work will be paid for.
1.1 | Unskilled Labourer | Hrs | 19
1.2 | Timberman | Hrs | 6
1.3 | Stone Mason | Hrs | 19
1.4 | Carpenter | Hrs | 19
1.5 | Concreter | Hrs | 25
1.6 | Blaster (Certified) | Hrs | 3
1.7 | Fill and ram selected excavated materials around foundations and buildings. | Hrs | 19
1.8 | Painter | Hrs | 8
1.9 | Surveyor | Hrs | 13
1.1 | Foreman | Hrs | 19
1.11 | Watchman (including use of firewood, lights, day, night, Sunday and Public Holiday watching) | Hrs | 19
PAGE TOTAL CARRIED FORWARD TO SECTION COLLECTION SHEET
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | Kshs. | Kshs.
2 | PLANT
The rates inserted herein should include for all operational and maintenance costs, fuel, oil, grease, operators, turnboys, supervision, overhead and profits. Only the time actually employed on works will be paid for and the rates should include for idle, travelling and overtime.
2.1 | Compressor complete (3.0 m3/minute) | Hrs | 6
2.2 | Compressor complete (6.0 m3/minute) | Hrs | 6
2.3 | Pneumatic Pick | Hrs | 4
2.4 | D4 Tractor | Hrs | 8
2.5 | D8 Tractor | Hrs | 8
2.6 | Concrete Vibrator (Petrol or Diesel) | Hrs | 8
2.7 | Concrete Mixer 14/10 (including batch weighing gear and drag feed shovel) | Hrs | 19
2.8 | -Ditto- but 7/5 | Hrs | 4
2.9 | Dumper 0.38 m3 | Hrs | 19
2.1 | Dumper 0.76 m3 | Hrs | 5
2.11 | 5 Tonne Lorry (Tipper) | Hrs | 19
2.12 | 7 Tonne Lorry (Tipper) | Hrs | 6
2.13 | Portable water pump 50mm diameter (inclusive of hoses, couplings, etc.) | Hrs | 5
2.14 | Oxy-Acetylene cutting and welding set including oxygen and acetylene | Hrs | 5
2.15 | Electric welding set including electrodes | Hrs | 5
PAGE TOTAL CARRIED FORWARD TO SECTION COLLECTION SHEET
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
No. |  |  |  | Kshs. | Kshs.
3 | MATERIALS |  |  |  | 0
All materials are to comply with the specifications. The rates inserted herein are to include for delivery to site, storage, handling, overheads and profits.
3.1 | Ordinary Portland Cement | Tonne | 3
3.2 | Mild Steel (any size from 6mm to 25mm dia.) | Kg | 125
3.3 | High Tensile Steel (any size from 8mm to 25mm dia.) | Kg | 125
3.4 | Fine Aggregate for Concrete | m3 | 13
3.5 | Coarse Aggregate for Concrete | m3 | 13
3.6 | Use of Shuttering Timber | m3 | 1
3.7 | Use of Timbering for Trenches | m3 | 1
3.8 | Murram | m3 | 50
3.9 | Concrete Block Type 'A' | m | 13
3.1 | Concrete Block Type 'B' | m | 13
3.11 | 225mm dia. Concrete Ogee Pipe | m | 13
3.12 | 300mm dia. Concrete Ogee Pipe | m | 13
3.13 | Concrete Class 15/20 | m3 | 8
3.14 | Concrete Class 20/20 | m3 | 8
3.15 | Concrete Class 25/20 | m3 | 8
3.16 | Heavy Duty Cast Iron Manhole Covers | Nr | 13
PAGE TOTAL CARRIED FORWARD TO SECTION COLLECTION SHEET
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (KSH)
BILL NO.3 COLLECTION PAGE
1 | Labour
2 | Plant
3 | Materials
TOTAL FOR BILL NO. 4